## Sheet1
Item ID | Item Description | Note
VAL-DS-B-01 | BURNER BASE | Up to N
VAL-DS-B-01A | BURNER BASE | Only J
VAL-DS-B-01B | BURNER BASE | From I
VAL-DS-B-02 | FREE GROMMET
VAL-DS-B-03 | DIFFUSER
VAL-DS-B-04 | PUMP NIPPLE
VAL-DS-B-05 | NOZZLE 0.3G | Up to N
VAL-DS-B-05A | NOZZLE 0.4G | From N-02
VAL-DS-B-06 | WHIRL VANE
VAL-DS-B-07B | ELECTRODE
VAL-DS-B-08 | BURNER CONE BRACKET | New from H, Has to pair with 2 DS-B-10B
VAL-DS-B-09 | BURNER CONE
VAL-DS-B-09A | BURNER CONE | From N-02
VAL-DS-B-10 | BURNER GASKET | Only few inventory left, discontinued
VAL-DS-B-10A | BURNER GASKET | Only few inventory left, discontinued
VAL-DS-B-10B | BURNER GASKET | New replacement of gasket, Pair with B-08
VAL-DS-B-11 | FACE PLATE
VAL-DS-B-11B | FACE PLATE | From I-01
VAL-DS-B-12 | SWITCH ASSEMBLY
VAL-DS-B-12A | SWITCH ASSEMBLY | From J-01 with thermostat terminal
VAL-DS-B-13 | TIP OVER SWITCH | Same as KSL-B-44
VAL-DS-B-14 | TIP OVER SWITCH CABLE
VAL-DS-B-15 | STEP DOWN TRANSFORMER | Same as KSL-B-24
VAL-DS-B-16 | FLAME MONITOR | Same as KSL-B-11
VAL-DS-B-17 | BURNER CONTROLLER | Up to P
VAL-DS-B-17A | BURNER CONTROLLER | From N-01 can replace B-17
VAL-DS-B-18 | FUSE (3A) | Same as KSL-B-17A
VAL-DS-B-18A | FUSE (3A) SMALL | From N-01
VAL-DS-B-19 | CONTROL SUPPORT | Same as KSL-B-30
VAL-DS-B-20 | FAN MOTOR
VAL-DS-B-21 | IGNITION TRANSFORMER
VAL-DS-B-21A | IGNITION TRANSFORMER | From J-01 with shorter plug wires
VAL-DS-B-22 | POWER CABLE
VAL-DS-B-23A | CABLE STOPPER
VAL-DS-B-24A | FUEL PUMP | Without air vent valve unit
VAL-DS-B-24B | FUEL PUMP | From J-01 with air vent valve
VAL-DS-B-25 | FUEL OUTLET LINE
VAL-DS-B-25A | FUEL OUTLET LINE | From N-01
VAL-DS-B-25B | FUEL OUTLET LINE | From J-01
VAL-DS-B-26 | HOUSING | Same as KLS-B-33V
VAL-DS-B-29 | RETURN LINE
VAL-DS-B-30 | PUMP ELBOW
VAL-DS-B-32 | DAYSTAR REPAIR KIT
VAL-DS-R-01 | PROTECTOR ASSEMBLY
VAL-DS-R-02 | DRUM FRONT RING
VAL-DS-R-03 | RADIATION DISK
VAL-DS-R-04 | INNER CYLINDER
VAL-DS-R-05 | OUTER CYLINDER
VAL-DS-R-06 | CYLINDER END
VAL-DS-R-07A | DRUM
VAL-DS-R-08 | INSULATOR
VAL-DS-R-09 | DRUM END
VAL-DS-R-10 | GRIP
VAL-DS-R-11A | BURNER DRAFT GASKET
VAL-DS-R-12 | OVERHEAT PROTECTION
VAL-DS-R-13 | OVERHEAT PROTECTION CABLE
VAL-DS-R-14 | CABLE CLIP
VAL-DS-R-15 | BLOWER FAN
VAL-DS-R-16 | BLOWER MOTOR
VAL-DS-R-17 | RELAY CABLE
VAL-DS-R-18 | DRUM BASE
VAL-DS-R-18A | DRUM BASE | Fron N-01
VAL-DS-T-01 | FUEL TANK
VAL-DS-T-01A | FUEL TANK | Fron N-01
VAL-DS-T-02 | TANK LID
VAL-DS-T-03 | TANK INLET FILTER
VAL-DS-T-04 | SUCTION PIPE ASSEMBLY
VAL-DS-T-04A | SUCTION PIPE ASSEMBLY | From N-02
VAL-DS-T-05 | TANK RUBBER SEAL
VAL-DS-T-05A | TANK RUBBER SEAL WITH RETURN | From N-02
VAL-DS-T-06 | FILTER ELEMENT | Filter can be used for Z1
VAL-DS-T-07 | FUEL GAUGE
VAL-DS-T-08 | STAND | From N-01
VAL-DS-T-09 | RETURN LINE | From N-02
VAL-DS-T-10 | HOSE CLAMP | From N-02